Out of hours/lone working declaration

University of Oxford, Nuffield Department of Clinical Neurosciences

Part 1 – the activity

Please details activities and relevant risk assessment linked to the activity:

Please details below hazards, risk and control measures:

| Hazard | Risk (circle relevant or delete as appropriate) | Control measures (complete) |
| --- | --- | --- |
| Liquid nitrogen Use only permitted out of hours if unavoidable and then only permitted with at least 2 trained and competent persons present. | Equivalent/greater |  |
| Toxic, corrosive or flammable materials Use of stock material is permitted only if unavoidable and then only with at least 2 trained and competent persons present. | Equivalent/greater |  |
| High speed centrifugation | Equivalent/greater |  |
| Electrophoresis equipment | Equivalent/greater |  |
| Compressed gases Movement of compressed cylinder is permitted only if unavoidable and then only with at least 2 trained and competent persons present. | Equivalent/greater |  |
| Biological material – Containment level 2 Use of sharps with CL2 material is permitted only if unavoidable and then only with at least 2 trained and competent persons present. | Equivalent/greater |  |
| Any other material, equipment or procedure of significant risk | Equivalent/greater |  |

Part 2 - Emergency procedures

| First aid boxes | Sited in the laboratory and office areas |
| --- | --- |
| Emergency eye wash stations | Sited by each lab door (special lab and large labs) |
| Emergency chemical spill | Sited by fume cupboards in large labs |
| Phenol antidote (PEG 300) | Sited by fume cupboards in large labs |
| Has individual undergone first aid training or Fire training? | First Aid Yes/No Fire training Yes/No |
| Detail any specialist First Aid measures that are required above normal emergency response (e.g. Action for LN2 or Phenol spill) |  |
| Detail any specialist isolation procedures for hazardous equipment that might be required (e.g. Isolated electricity at switch or emergency stop buttons) |  |
| Detail below names and details of specific emergency contacts (e.g. supervisor) |  |
| >> In the event of an hours of hours emergency contact OUH SECURITY SERVICES using 4444 or 01865 857 727. |  |
| Details of any other requirements or special procedures |  |

Part 3 – Final assessment and sign off

The applicant

I confirm that I have received and read the out of hours working policy and agree to be bound by its requirements.

I confirm that I have read and understood all relevant risk assessments related to the activities I will be undertaking.

I confirm that I have received all relevant training related to the activities I will be undertaking and that this training has been recorded in my personal training record.

I accept that failure to comply with the out of hours working policy or other points mentioned above, either wholly or in part, can result in disciplinary action.

| Signature of applicant: | ___________________________________________________ |
| --- | --- |
| Name (block letters): | ___________________________________________________ |
| Email: | ___________________________________________________ |
| Post held: | ___________________________________________________ |
| Date: | ___________________________________________________ |
| NSH Card number (front number and first 5 digit at the back) | ___________________________________________________ |

The applicant’s supervisor

I confirm that I give permission for the applicant to be given out of hours access following the control measures listed above.

I acknowledge that I am responsible for the health, safety and wellbeing of the applicant at all times whilst they are at work in the Nuffield Department of Clinical Neurosciences.

| Signature of supervisor: | ___________________________________________________ |
| --- | --- |
| Name (block letters): | ___________________________________________________ |
| Date: | ___________________________________________________ |