# REMINDERS FOR WHEN ISSUING BP MACHINES

- When issuing equipment to participants

  - Always complete a loan form including patient details and the monitor number.

  - If it is a new recruit, please also complete the contact details form.

  - Please email these forms to our confidential email address which is: orh-tr.oxvasc@nhs.net as soon as possible.

  - If fitting a 24 hour BP monitor to a participant, please issue a diary sheet, cardboard box and envelope to the patient. The diary sheet must be returned with the equipment as it allows us to correctly identify which participant wore it.

  - Please obtain a test readings when the monitor has been fitted to the patient and write this on the patient’s diary sheet. You can find instructions for this on the PROHIBIT website: www.prohibit-ich.org.uk

  - We advise that staff members do not obtain a test reading on themselves prior to patient use as this will have an effect on the patient’s results.

- Please check your equipment / batteries regularly.

  - If the 24 hour BP monitor is unused / stored without batteries it may lose settings (E00 displayed or a blank screen). If you find E00 please

    - Notify the Oxford team of the problem so they know you are returning the equipment. Please label the equipment so we know which site has sent it.

    - When the monitor has been received back to the site please insert normal batteries (not rechargeable) and check for a digital clock on the display.

    - Store the monitor with normal batteries in and fit to the patient when required.

    - Notify the Oxford team of its receipt - Thank you!

- The address for returning equipment is:

Oxford Blood Pressure Monitoring Team,

Wolfson Centre for the Prevention of Stroke and Dementia (CPSD), Wolfson Building

John Radcliffe Hospital Site, Headley Way,

Headington, Oxford,

OX3 9DU

- Our phone number is: 01865 231601

- Our email address is: orh-tr.oxvasc@nhs.net

- Please look on the website for copies of any paperwork required at: www.prohibit-ich.org.uk

Thank you for your co-operation

The Oxford Monitoring Team